## ICL Application Note 	No. 00019

# Configuring Windows XP to accept Incoming PPP Connections

This document will walk you through configuring Windows XP to accept incoming modem connections from your Etherlogic Controller.

### Accepting Incoming Connections

In Windows, click on “Start” and then select “Settings” and click on  “Network Connections”. On the right-hand side of the new window click on “Create New Connection” and you will see the following screen:

Click “Next” and select “Set up an Advanced Connection”

Select “Accept Incoming Connections”

Click the checkbox next to the modem that you want to use and then click on the “Properties” button.

Set your Data Connection Preferences and then click on the “Advanced” tab.

On the Advanced tab set your Hardware Settings and then click “OK”

Next you need to add a username and password. On the next screen click on “Add” at the bottom and fill out the screen that looks like this:

Once you have added this user click “OK” and you will see your new user appear. Click on “Next”

The next window will allow you to change your TCP/IP properties. Highlight “TCP/IP” and click “Properties"

From this screen you will be able to configure the IP addresses that you want to assign to the incoming connection. This needs to be on a different subnet than the controllers LAN connection for it to work properly.

Once you have finished this you can click “OK” and “Finish” on the wizard and close it.

Contact Information

Toll Free		(800) 888-1893

Local			(530) 888-1800

Fax			(530) 888-7017

Email			support@iclinks.com

Web			http://www.iclinks.com

Mail			12840 Earhart Avenue ( Auburn, CA USA 95602