## ICL Application Note 	No. 00024

# Creating a Trigger

This document will walk you through successfully creating a trigger that will allow you to record a log file, trigger an alarm, etc. in your SCADABuilder project.

### Setting up a new Trigger

Double click on “Triggers” on the right-hand side of your Node Structure

You will see the following screen. Hit OK after you have created a name for your Trigger

### Configuring your Trigger

On the next screen you will need to configure your trigger by telling it what attributes to assign to it.

### Setting the Options

Next, set the options that you want to have with this Trigger.

### Finish

Click OK to see the new Trigger in the directory structure on the right:

Contact Information

Toll Free		(800) 888-1893

Local			(530) 888-1800

Fax			(530) 888-7017

Email			support@iclinks.com

Web			http://www.iclinks.com

Mail			12840 Earhart Avenue ( Auburn, CA USA 95602