## ICL Application Note 	No. 00045

# Upgrading ScadaBuilder

This document will walk you through doing an upgrade of the ScadaBuilder or ScadaWorks package. Please be sure to follow the complete procedure when a new version of ScadaBuilder/ScadaWorks is available as failing to do so can result in your application failing to run.

### Re-installing ScadaBuilder / ScadaWorks

Insert your ScadaBuilder /ScadaWorks CD to start the setup process.  Click next when the slash screen loads up:

- Click “Next.”

- Choose whether or not you accept the license agreement and then click “Next.”

- Click “Next.”

- Enter your credentials and click “Next.”

- Choose the installation location and click “Next” to continue.

- Select “Typical” from the installation options.  This feature will install all of the needed files and components.  Advanced users can select “Custom” if they are positive that they will not need to install certain components.

- Finally, click “Install” to begin the installation.

- Wait for the installation to complete.

- Make sure that “Launch the program” is selected and click “Finish.”

### Doing a Complete Controller Setup

Once you have finished the installation, the new version of ScadaBuilder/ScadaWorks will launch.  New versions almost always have changes made to several components, specifically the runtime kernel.  For this reason it is mandatory that you do a “Complete Controller Setup.”  This will make sure that all of the files on your controller are compatible with the new software.

- If you do not complete this step your controller may not function properly, if at all.

- If you start with a new project, your experience should be similar to past interactions with the software.  After making a new project you will need to add a node and go through your configuration.

- If you open up an existing project, things will be slightly different.  You will first be alerted by the message below:

- Click YES to ensure that you have a backup copy of your project. This will be saved in the project directory with a _v101.zpb extension. You can copy this file at any time to another location for backup.  Backups are always good to have.

Connect your controller to your computer using a null modem serial cable.  Once the project has been archived and converted click on “Target” and select “Send Complete Controller Setup.”  (A “Complete Controller Setup” always requires the use of a null modem serial cable.)

You should see this window appear:

- Only operations that are required by the project are available to you. For example, if you do not have Ethernet enabled in your project you will not get an option to “Send Sockets (TCP/IP Support), etc.

- Click OK to begin the Complete Controller Setup.

You should see the following window appear:

Followed by:

- If this window stays open you will need to press exit and then re-run the Complete Controller Setup. ISaGRAF can require up to two compiles on the initial setup.

When the Code Generator exits you will get a window similar to the following:

- If prompted, press the Reset button on the unit. This will start the download process.

- When it is complete you will be prompted to reboot the unit and apply changes. Click OK.

Summary

At this time your controller is now up and running with the newest version of ScadaBuilder. This complete procedure will only need to be followed once.  However, any old projects that you port to the new version will require you to perform complete controller setups on all units in the project.

Contact Information

Toll Free		(800) 888-1893

Local			(530) 888-1800

Fax			(530) 888-7017

Email			support@iclinks.com

Web			http://www.iclinks.com

Mail			12840 Earhart Avenue ( Auburn, CA USA 95602